## 5.
5. ENERGY

## 5.1
Table 5.1 - Energy
2010
|  | Jan. | Feb. | March | April | May | June | July | Aug. | Sep. | Oct. | Nov. | Dec. | Total 2010
Energy Production. Million of KWh | EDL factories Production | 900.227 | 871.05 | 858.539 | 648.978 | 764.762 | 885.541 | 1043.736 | 1084.459 | 976.353 | 841.083 | 801.773 | 809.335 | 10485.836
| Hydraulic Energy | 12.131 | 12.542 | 14.698 | 12.401 | 7.209 | 3.602 | 2.096 | 1.279 | 1.28 | 1.695 | 34.667 | 3.819 | 107.419
| Safa | 3.492 | 2.508 | 3.031 | 2.21 | 0.597 | 0.07 | 0 | 0 | 0 | 0 | 33 | 1.102 | 46.01
| Qadisha | 8.639 | 10.034 | 11.667 | 10.191 | 6.612 | 3.532 | 2.096 | 1.279 | 1.28 | 1.695 | 1.667 | 2.717 | 61.409
| Thermal Energy | 888.096 | 858.508 | 843.841 | 636.577 | 757.553 | 881.939 | 1041.64 | 1083.18 | 975.073 | 839.388 | 767.106 | 805.516 | 10378.417
| Steam | 377.692 | 317.6 | 361.361 | 325.614 | 321.25 | 356.377 | 392.999 | 425.857 | 348.228 | 286.118 | 316.397 | 230.659 | 4060.152
| Gas | 15.77 | 21.086 | 21.463 | 21.39 | 25.077 | 37.882 | 66.194 | 82.016 | 62.427 | 51.104 | 39.481 | 41.172 | 485.062
| Qadisha | 23.634 | 16.535 | 22.815 | 24.837 | 11.604 | 22.923 | 19.559 | 26.088 | 24.524 | 24.282 | 25.376 | 21.415 | 263.592
| Mixed | 471 | 503.287 | 438.202 | 264.736 | 399.622 | 464.757 | 562.888 | 549.219 | 539.894 | 477.884 | 385.852 | 512.27 | 5569.611
| Purchases | 176.135 | 134.837 | 179.512 | 240.499 | 196.404 | 154.237 | 133.186 | 72.894 | 148.502 | 172.731 | 206.71 | 189.164 | 1557.257
| Hydraulic Energy | 72.871 | 99.577 | 110.564 | 90.55 | 57.793 | 42.688 | 40.605 | 56.082 | 44.134 | 32.551 | 52.449 | 65.936 | 765.8
| Thermal Energy | 103.264 | 35.26 | 68.948 | 149.949 | 138.611 | 111.549 | 92.581 | 16.812 | 104.368 | 140.18 | 154.261 | 123.228 | 791.457
| From Syria | 54.707 | 35.26 | 53.631 | 85.674 | 86.565 | 69.451 | 51.278 | 13.657 | 88.797 | 97.342 | 89.316 | 65.779 | 791.457
| From Egypt | 48.557 | 0 | 15.317 | 64.275 | 52.046 | 42.098 | 41.303 | 3.155 | 15.571 | 42.838 | 64.945 | 57.449
| Network consumption | 1076.321 | 1005.887 | 1038.051 | 889.477 | 961.166 | 1039.778 | 1176.922 | 1157.353 | 1133.855 | 1014.114 | 975.516 | 998.499 | 12466.939
| Hydraulic Energy | 85.002 | 112.119 | 125.262 | 102.951 | 65.002 | 46.29 | 42.701 | 57.361 | 54.414 | 34.246 | 54.149 | 69.755 | 849.252
| Thermal Energy | 991.319 | 893.768 | 912.789 | 786.526 | 896.164 | 993.488 | 1134.221 | 1099.992 | 1079.441 | 979.868 | 921.367 | 928.744 | 11617.687
| Steam | 401.056 | 334.135 | 384.176 | 350.451 | 332.854 | 379.3 | 412.558 | 451.945 | 372.752 | 310.4 | 341.773 | 252.074 | 4323.474
| Gas | 15.77 | 21.086 | 21.463 | 21.39 | 25.077 | 37.882 | 66.194 | 82.016 | 62.427 | 51.404 | 39.481 | 41.172 | 485.362
| Mixed | 471.229 | 503.287 | 438.202 | 264.736 | 399.622 | 464.757 | 562.888 | 549.219 | 539.894 | 477.884 | 385.852 | 512.27 | 5569.84
| From Syria | 54.707 | 35.26 | 53.631 | 85.674 | 86.565 | 69.451 | 51.278 | 13.657 | 88.797 | 97.342 | 89.316 | 65.779 | 791.457
| From Egypt | 48.557 | 0 | 15.317 | 64.275 | 52.046 | 42.098 | 41.303 | 3.155 | 15.571 | 42.838 | 64.945 | 57.449 | 447.554
Source: Electricité du Liban (E.D.L) |  | 2010 Aug.: Table made by CAS

## 5.2-3
Table 5.2 - Production of EDL power stations
2010
|  | Jan. | Feb. | March | April | May | June | July | Aug. | Sep. | Oct. | Nov. | Dec. | Total 2010
Energy Production. Million of KWh | Power station
| Grand Total | 1076.321 | 1005.887 | 1038.051 | 889.477 | 962.166 | 1039.778 | 1176.922 | 1157.353 | 1124.855 | 1013.814 | 975.516 | 998.499 | 12458.639
| Total hydraulic energy | 85.002 | 112.119 | 125.262 | 102.951 | 64.002 | 46.29 | 42.701 | 57.361 | 45.414 | 34.246 | 54.149 | 69.755 | 839.252
| Litani | 53.961 | 75.578 | 88.269 | 79.059 | 50.297 | 38.985 | 38.69 | 54.804 | 42.988 | 31.22 | 50.682 | 61.095 | 665.628
| Naher Ibrahim 1, 2, 3 | 14.319 | 18.273 | 17.543 | 8.247 | 3.733 | 1.657 | 0.542 | 0.274 | 0.236 | 0.297 | 0.286 | 2.651 | 68.058
| Bared 1, 2 | 4.591 | 5.726 | 4.752 | 3.244 | 2.763 | 2.046 | 1.373 | 1.004 | 0.91 | 1.034 | 1.481 | 2.19 | 31.114
| Safa | 3.492 | 2.508 | 3.031 | 2.21 | 0.597 | 0.07 | 0 | 0 | 0 | 0 | 0.033 | 1.102 | 13.043
| Qadisha | 8.639 | 10.034 | 11.667 | 10.191 | 6.612 | 3.532 | 2.096 | 1.279 | 1.28 | 1.695 | 1.667 | 2.717 | 61.409
| Total thermal energy | 888.055 | 858.508 | 843.841 | 636.577 | 757.553 | 881.939 | 1041.64 | 1083.18 | 975.073 | 839.388 | 767.106 | 805.516 | 10378.376
| Zouk | 239.17 | 216.38 | 233.28 | 181.88 | 159.25 | 202.5 | 242.85 | 260.98 | 232.96 | 199.22 | 204.48 | 142.84 | 2515.79
| South | 138.522 | 101.22 | 128.081 | 143.734 | 162 | 153.877 | 150.149 | 164.877 | 115.268 | 86.898 | 111.917 | 87.819 | 1544.362
| Zahrani | 257.016 | 232.026 | 174.07 | 117.245 | 261.186 | 263.188 | 272.893 | 264.757 | 266.962 | 287.611 | 266.927 | 245.604 | 2909.485
| Dair Aamar | 214.213 | 271.261 | 264.132 | 147.491 | 138.436 | 201.569 | 289.995 | 284.462 | 272.932 | 190.273 | 118.925 | 266.666 | 2660.355
| Baalbeck | 4.392 | 9.569 | 5.17 | 2.534 | 8.775 | 19.784 | 33.761 | 40.979 | 37.357 | 31.699 | 23.16 | 19.724 | 236.904
| Sour | 11.378 | 11.517 | 16.293 | 18.856 | 16.302 | 18.098 | 32.433 | 41.037 | 25.07 | 19.405 | 16.321 | 21.448 | 248.158
| Hreicheh | 23.364 | 16.535 | 22.815 | 24.837 | 11.604 | 22.923 | 19.559 | 26.088 | 24.524 | 24.282 | 25.376 | 21.415 | 263.322
| Purchase from other countries | 103.264 | 35.26 | 68.948 | 149.949 | 140.611 | 111.549 | 92.581 | 16.812 | 104.368 | 140.18 | 154.261 | 123.228 | 1241.011
| Purchase from Syria | 54.707 | 35.26 | 53.631 | 85.674 | 87.565 | 69.451 | 51.278 | 13.657 | 88.797 | 97.342 | 89.316 | 65.779 | 792.457
| Purchase from Egypt | 48.557 | 0 | 15.317 | 64.275 | 53.046 | 42.098 | 41.303 | 3.155 | 15.571 | 42.838 | 64.945 | 57.449 | 448.554
| Night average power in MW | 1551 | 1568 | 1500 | 1256 | 1359 | 1501 | 1619 | 1636 | 1630 | 1432 | 1446 | 1424 | 17922
| Hydraulic Energy | 152 | 204 | 191 | 171 | 154 | 133 | 118 | 127 | 111 | 92 | 111 | 102 | 1666
| Thermal Energy | 1399 | 1364 | 1309 | 1085 | 1205 | 1368 | 1501 | 1509 | 1519 | 1340 | 1335 | 1322 | 16256
Source: Electricité du Liban (E.D.L) |  | 2010 Aug.: Table made by CAS
Table 5.3 - Participation rate of EDL power stations
2010
|  | Jan. | Feb. | March | April | May | June | July | Aug. | Sep. | Oct. | Nov. | Dec. | Total 2010
Participation rate. Per cent | Power station
| Grand Total | 99.99 | 100 | 100 | 100 | 100.01 | 100.01 | 100.02 | 100.01 | 99.98 | 100.01 | 99.99 | 100.02 | 1200.04
| Total hydraulic energy | 7.89 | 11.15 | 12.06 | 11.58 | 6.67 | 4.46 | 3.64 | 4.96 | 4.03 | 3.38 | 5.55 | 6.99 | 82.36
| Litani | 5.01 | 7.51 | 8.5 | 8.89 | 5.24 | 3.75 | 3.29 | 4.74 | 3.82 | 3.08 | 5.2 | 6.12 | 65.15
| Naher Ibrahim 1, 2, 3 | 1.33 | 1.82 | 1.69 | 0.93 | 0.39 | 0.16 | 0.05 | 0.02 | 0.02 | 0.03 | 0.03 | 0.27 | 6.74
| Bared 1, 2 | 0.43 | 0.57 | 0.46 | 0.36 | 0.29 | 0.2 | 0.12 | 0.09 | 0.08 | 0.1 | 0.15 | 0.22 | 3.07
| Safa | 0.32 | 0.25 | 0.29 | 0.25 | 0.06 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0.11 | 1.29
| Qadisha | 0.8 | 1 | 1.12 | 1.15 | 0.69 | 0.34 | 0.18 | 0.11 | 0.11 | 0.17 | 0.17 | 0.27 | 6.11
| Total thermal energy | 82.51 | 85.34 | 81.29 | 71.56 | 78.9 | 84.82 | 88.51 | 93.6 | 86.68 | 82.8 | 78.62 | 80.69 | 995.32
| Zouk | 22.22 | 21.51 | 22.47 | 20.45 | 16.59 | 19.48 | 20.63 | 22.55 | 20.71 | 19.65 | 20.96 | 14.31 | 241.53
| South | 12.87 | 10.06 | 12.34 | 16.16 | 16.87 | 14.8 | 12.76 | 14.25 | 10.25 | 8.57 | 11.47 | 8.8 | 149.2
| Zahrani | 23.88 | 23.07 | 16.77 | 13.18 | 27.2 | 25.31 | 23.19 | 22.88 | 23.73 | 28.37 | 27.36 | 24.6 | 279.54
| Dair Aamar | 19.9 | 26.97 | 25.44 | 16.58 | 14.42 | 19.39 | 24.64 | 24.58 | 24.26 | 18.77 | 12.19 | 26.71 | 253.85
| Baalbeck | 0.41 | 0.95 | 0.5 | 0.28 | 0.91 | 1.9 | 2.87 | 3.54 | 3.32 | 3.13 | 2.37 | 1.98 | 22.16
| Sour | 1.06 | 1.14 | 1.57 | 2.12 | 1.7 | 1.74 | 2.76 | 3.55 | 2.23 | 1.91 | 1.67 | 2.15 | 23.6
| Hreicheh | 2.17 | 1.64 | 2.2 | 2.79 | 1.21 | 2.2 | 1.66 | 2.25 | 2.18 | 2.4 | 2.6 | 2.14 | 25.44
| Purchase from other countries | 9.59 | 3.51 | 6.65 | 16.86 | 14.44 | 10.73 | 7.87 | 1.45 | 9.27 | 13.83 | 15.82 | 12.34 | 122.36
| Purchase from Syria | 5.08 | 3.51 | 5.17 | 9.63 | 9.02 | 6.68 | 4.36 | 1.18 | 7.89 | 9.6 | 9.16 | 6.59 | 77.87
| Purchase from Egypt | 4.51 | 0 | 1.48 | 7.23 | 5.42 | 4.05 | 3.51 | 0.27 | 1.38 | 4.23 | 6.66 | 5.75 | 44.49
| Night average power in MW | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 1200
| Hydraulic Energy | 9.8 | 13.01 | 12.73 | 13.61 | 11.33 | 0.01 | 7.29 | 7.76 | 6.81 | 6.42 | 7.68 | 7.16 | 103.61
| Thermal Energy | 90.2 | 86.99 | 87.27 | 86.39 | 88.67 | 99.99 | 92.71 | 92.24 | 93.19 | 93.58 | 92.32 | 92.84 | 1096.39
Source: Electricité du Liban (E.D.L) |  | 2010 Aug.: Table made by CAS

## 5.4
Table 5.4 - Production of EDL power stations. KWh
2010
| Total hydraulic energy |  | Total thermal energy |  | Purchase |  |  | Grand Total | Year to date total
| EDL | Kadisha | EDL | Kadisha | Purchase from Syria | Purchase from Egypt | Hydraulic-Lebanon
Jan. | 3.492 | 8.639 | 864.462 | 23.634 | 54.707 | 48.557 | 85.002 | 1088.493 | 1088.493
Feb. | 2.508 | 10.034 | 841.973 | 16.535 | 35.26 | 0 | 112.119 | 1018.429 | 2106.922
March | 3.031 | 11.667 | 821.026 | 22.815 | 53.631 | 15.317 | 125.262 | 1052.749 | 3159.671
April | 2.21 | 10.191 | 611.74 | 24.837 | 85.674 | 64.275 | 102.951 | 901.878 | 4061.549
May | 0.597 | 6.612 | 745.949 | 11.604 | 86.565 | 52.046 | 65.002 | 968.375 | 5029.924
June | 0.07 | 3.532 | 859.016 | 22.923 | 69.451 | 42.098 | 46.29 | 1043.38 | 6073.304
July | 0 | 2.096 | 1022.081 | 19.559 | 51.278 | 41.303 | 42.701 | 1179.018 | 7252.322
Aug. | 0 | 1.279 | 1057.092 | 26.088 | 13.657 | 3.155 | 57.361 | 1158.632 | 8410.954
Sep. | 0 | 1.28 | 950.549 | 24.524 | 88.797 | 15.571 | 54.414 | 1135.135 | 9546.089
Oct. | 0 | 1.695 | 815.106 | 24.282 | 97.342 | 42.838 | 34.246 | 1015.509 | 10561.598
Nov. | 33 | 1.667 | 741.73 | 25.376 | 89.316 | 64.945 | 54.149 | 1010.183 | 11571.781
Dec. | 1.102 | 2.717 | 784.101 | 21.415 | 65.779 | 57.449 | 69.755 | 1002.318 | 12574.099
Total 2010 | 46.01 | 61.409 | 10114.825 | 263.592 | 791.457 | 447.554 | 849.252 | 12574.099
Average | 3.8342 | 5.1174 | 842.9021 | 21.966 | 65.9548 | 37.2962 | 70.771 | 1047.8416

## 5.5-6
Table 5.5 - Production of EDL power stations
LL billion |  |  |  | 2006 | 2007 | 2008 | 2009 | Change 09/08 | % Change 09/08
EDL, of which: |  |  |  | 1370 | 1479 | 2430 | 2259 | -172 | -7.1
| Debt service, of which: |  |  | 249 | 365 | 155 | 127 | -28 | -18.1
|  | C-loans and Eurobonds, of which: |  | 228 | 272 | 115 | 93 | -22 | -18.9
|  |  | Principal repayments | 181 | 235 | 94 | 79 | -15 | -15.7
|  |  | Interest payments | 47 | 37 | 22 | 15 | -7 | -32.6
|  | BDL-guaranteed loan payments |  | 5 | 92 | 40 | 34 | -6 | -15.8
|  | Other |  | 17 | 0 | 0 | 0 | 0 | 0
| Repayments of oil suppliers arrears |  |  | 217 | 0 | 0 | 0 | 0 | 0
| Reimbursments of Koweit Petroleum Corporation and Sonatrach |  |  | 903 | 1114 | 2275 | 2131 | -144 | -6.3
Source: Ministry of Finance
Table 5.6 - Breakdown of total oil bill (2006-2009)
Total oil bill, of which paid by | 2006 | 2007 | 2008 | 2009
| 1111 | 1280 | 2409 | 2333
EDL | 18.7 | 13 | 4.7 | 8.3
Government (%) | 81.3 | 87.1 | 94.4 | 91.4
Other (refineries) (%) | 0 | 0 | 0.8 | 0.3
Source: Ministry of Finance

## 5.7-8
Table 5.7 - Energy of EDL power stations
Primary Energy | Importer | Source | Transport | Consumer | Usage | % Share
Heavy Fuel Oil | MOEW | SONATRACH | Sea Tankers | EDL | Electricity | 22.2
Heavy Fuel Oil | Industry | International Market | Sea Tankers | Industry | Ind. Product. | 1.7
Gasoil | MOEW | Kuwait Petroleum Company, SONATRACH Algerian Oil Conglomerate | Sea Tankers | EDL | Electricity | 27.4
Gasoil | MOEW | International Market | Sea Tankers | Local Market | Heating | 8
Diesel | Private Companies | International Market | Sea Tankers | Local market | Trucks/buses | 1.5
Gasoline | Private Companies | International Market | Sea Tankers | Local Market | Vehicles | 27.2
Kerosene Jet A1 | Private Companies | International Market | Sea Tankers | International Bunker | Aviation | 3.5
Other Petroleum Distillates | Private Companies | International Market | Sea Shipping | Local Market | Domestic | 0.4
Coal | Industry | International Market | Sea shipping | Industry | Industrial Production | 1.6
Liquid Petroleum Gas | Private Companies | International Market | Sea shipping | Local Market | Heating, Cooking | 2
Natural gas (Methane) | MOEW | Egypt | Land pipeline | EDL | Electricity | 0
Imported Electricity | MOEW | Syria/Egypt | High Voltage Transmission Lines | Local Market | Electricity | 1.2
Hydroelectricity | - | Local | - | Local Market | Electricity | 0.6
Biomass | - | Local | - | Local Market | Heating | 2.1
Alternative Energy | - | Local | - | Local Market | Heating/Electricity | 0.6
Source: Ministry of Environment
Table 5.8 - Allowable sulfur content in hydrocarbons on the Lebanese market. Weight
Heavy Fuel Oil (%) | Gasoil (%) | Diesel (%) | Gasoline 92 Octane (%) | Gasoline 95 Octane (%) | Gasoline 98 Octane (%) | White Kerosene (%) | LPG mg/m³
2.5 | 0.5 | 0.035 | 0.05 | 0.05 | 0.05 | 0.3 | 345
Source: Ministry of Environment

## 5.9
Table 5.9 - Production of EDL power stations
Power Stations | Nominal MW | Available 2004 | Available 2008 | Current Fuel Type | Retirement year | Equipment Type
Zouk | 607 | 520 | 365 187 | Heavy Fuel Oil | 2015 | Steam Turbine
Jieh | 346 | 295 |  |  | 2010 | Steam Turbine
Hrayche | 75 | 60 | - | Heavy Fuel Oil | 2010 | Steam Turbine
Sour | 70 | 70 | 70 | Light Fuel Oil (Diesel) (Optimal efficiency with NG) | 2021 | Open Cycle Gas Turbine
Baalbeck | 70 | 70 | 70 |  | 2021 | Open Cycle Gas Turbine
Beddawi | 435 | 435 | 435 |  | 2025-2030 | Combined Cycle Gas Turbine
Zahrani | 435 | 435 | 435 |  | 2025-2030 | Combined Cycle Gas Turbine
Total conventional | 2023 | 1885 | 1562 | - |  | -
Hydro | 282 | 80 | < 80 | - | 1981 | Water Turbine
Egypt/Syria import | 200 | 200 | 200 | - | - | -
TOTAL | 2505 | 2150 | < 1840 | - | - | -
Source: Ministry of Environment

## 5.10
Table 5.10 - Tariffs of EDL power stations
| Tariff slot | Tariff. LBP/ KWh | Tariff. USD/KWh
LT | Domestic
| < 100 kWhr | 35 | 0.023
| 101-300 kWhr | 55 | 0.036
| 301-400 kWhr | 80 | 0.053
| 401-500 kWhr | 120 | 0.08
| > 501 kWhr | 200 | 0.13
| Street Lighting, Public Buildings, Free medical care centres, Hospitals, Places of Worship, Cinemas, Charity centres, etc. | 140 | 0.093
| Small industry, craftsmen, agriculture, water treatment, pumping stations | 115 | 0.076
| Craftsmen , agriculture , water treatment and pumping stations | 130 | 0.086
MT | Industry: Night slot: 80 LBP, Day slot: 112 LBP, Peak slot; 320 LBP
| Other subscribers | 140 | 0.093
HT | Category: All subscribers | 115 | 0.076
Source: Ministry of Environment

## 5.11-14
Table 5.11 - Power consumption by sector. Per cent
Sector | Percentage (%)
Buildings | 50.5
Transport | 28.8
Industry | 19.5
Others | 1.2
Total | 100
Source: Ministry of Environment
Table 5.12 - Average electricity tariffs in some Arab countries. US cents/KWh
Morocco | UE | Lebanon | Jordan | Dubai | Tunisia | Abu Dhabi | Algeria | Qatar
11 | 9.6 | 9.4 | 7.5 | 5.4 | 4.6 | 4 | 3.5 | 3
Source: Ministry of Environemnt
Table 5.13 - Residential and commercial final energy consumption. Per cent
| Space heating | Air conditioning | Light | Water heating | Ventilation | Office Equipment | Refrigerating | Cook | TV | Other | Total
Residential | 34 | 11.5 | 8.2 | 28 | 0.5 | 0 | 7 | 2.3 | 2.5 | 6 | 100
Commercial | 36 | 18 | 20 | 1.5 | 1.5 | 13.5 | 1 | 1 | 1.5 | 6 | 100
Source: Ministry of Environemnt
Table 5.14 - Share of energy sector in Lebanon CO2 eq emissions 2000-2006. Ggr
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006
Total national emissions | 18507 | 19311 | 19632 | 19811 | 20300 | 19143 | 18171
Energy sector emissions | 13786 | 14967 | 14892 | 14836 | 14955 | 14254 | 13098
Percentage | 74.49% | 77.51% | 75.86% | 74.89% | 73.67% | 74.46% | 72.08%
Source: Ministry of Environemnt

## 5.15
Table 5.15 - Imported petroleum products
2010
Imports of Oil Products. Tonnes | Oil Product | Jan. | Feb. | March | April | May | June | July | Aug. | Sep. | Oct. | Nov. | Dec. | Total 2010
| Imported oil by the private sector (Diesel oil) | 29034.878 | 7251.359 | 28721 | 3026 | 3171304 | 40549.706 | 11428 | 48385 | 45492 | 16049.247 | 35082 | 54057 | 3490380.19
| Imported oil by the Ministry of Energy and Water for EDL | 87361.012 | 107379.229 | 52579 | 50147 | 587087 | 66258 | 82609 | 107750 | 113310 | 52316.274 | 109156 | 108335 | 1524287.515
| Imported fuel-oil by the Ministry of Energy and Water for EDL | 115067.974 | 116576.219 | 51913 | 122745 | 146839 | 88982 | 104660 | 122597 | 167784 | 94059.325 | 48312 | 103824 | 1283359.518
| Unleaded petrol 95 Octane | 77275.144 | 108160.946 | 110765 | 108247 | 58942 | 112635 | 79282 | 163586 | 105236 | 0 | 49777 | 93445 | 1067351.09
| Imported oil by the Ministry of Energy and Water for the local market | 119400.778 | 92505.032 | 56356 | 57929 | 44538.215 | 32729 | 61843 | 84644 | 75735 | 100645.785 | 65730 | 66056 | 858111.81
| Unleaded petrol 98 Octane | 14127.34 | 25874.59 | 10831 | 25408 | 6377 | 23822 | 26783 | 14856 | 34965 | 19228.183 | 10979 | 36776 | 250027.113
| Kerosene for aircraft | 19860.024 | 19767.732 | 18876 | 0 | 30219.29 | 0 | 27306 | 26738 | 25944 | 0 | 37307 | 24932 | 230950.046
| Imported fuel oil by the private sector | 21000 | 0 | 26000 | 22000 | 0 | 22000 | 36000 | 0 | 0 | 48829.156 | 0 | 23895 | 199724.156
| Liquid Gas | 2501.074 | 11706.719 | 15533 | 10677 | 12958 | 6227 | 12405 | 15214 | 14650 | 7349.488 | 3781 | 4973 | 117975.281
| Asphalt (Bitumen) | 8238.44 | 8709.991 | 13797.209 | 16157.781 | 12347.901 | 10855.256 | 4128.638 | 2416.385 | 980.764 | 2132.86 | 736 | 4331.885 | 84833.11
Refineries of Tripoli & Zahrani | Gaz Oil. Tonnes | 119400.778 | 92505.032 | 56355.655 | 57929.375 | 44520.215 | 32729 | 91640.067 | 84644.36 | 75734.814 | 100645.785 | 65729.842 | 66056.198 | 887891.121
Source: Ministry of Energy and Water |  | 2010 Aug.: Table made by CAS

## 5.16
Table 5.16 - Tariff of petroleum products. LBP in 2010
2010
Decision Number | Date | Oil Octane 98 - Price to consumer (20 liters. LBP) | Oil Octane 95 - Price to consumer (20 liters. LBP) | Oil Kerosene - Price to consumer (20 liters. LBP) | Mazout - Price to consumer (20 liters. LBP) | Diezel oil | Fuel-Oil | Fuel Oil (1% sulfur) | Liquid gas cylinder to consumer |  | Liquid gas | Propane | Butane | Re-exported red mazout
[6 empty] | For vehicles - Price to consumer (20 liters. LBP) | Kiloliter/USD in wharehouse without VAT | Kiloliter/USD in wharehouse without VAT | 10 Kg. LBP | 12.5 Kg. LBP | Maximum rate of Tonne/USD without distribution Commission and without VAT | Maximum rate of Tonne/USD without distribution Commission and without VAT | Maximum rate of Tonne/USD without distribution Commission and without VAT | Kiloliter. LBP
3 | 05/01/2010 | 31700 | 31000 | 19300 | 16300 | 19500
4 | 05/01/2010 | [6 empty] | 501
5 | 05/01/2010 | [7 empty] | 15900 | 19300 | 904 | 928 | 898
6 | 05/01/2010 | [12 empty] | 947650
8 | 13/01/2010 | 32200 | 31500 | 19700 | 19600 | 19900
9 | 13/01/2010 | [5 empty] | 494
10 | 13/01/2010 | [6 empty] | 512
11 | 13/01/2010 | [7 empty] | 16300 | 19900 | 935 | 962 | 928
12 | 13/01/2010 | [12 empty] | 972400
15 | 19/01/2010 | 32600 | 31900 | 20000 | 17300 | 20300
16 | 19/01/2010 | [5 empty] | 503
17 | 19/01/2010 | [6 empty] | 520
18 | 19/01/2010 | [7 empty] | 16900 | 20500 | 969 | 990 | 963
19 | 20/01/2010 | [12 empty] | 992750
23 | 26/01/2010 | 32800 | 32100 | 20100 | 17400 | 20400
24 | 26/01/2010 | [5 empty] | 508
25 | 26/01/2010 | [6 empty] | 523
26 | 26/01/2010 | [7 empty] | 17200 | 21000 | 994 | 1004 | 991
27 | 26/01/2010 | [12 empty] | 997700
29 | 02/02/2010 | 32700 | 32000 | 19800 | 17000 | 20100
30 | 02/02/2010 | [5 empty] | 503
31 | 03/02/2010 | [6 empty] | 519
32 | 02/02/2010 | [7 empty] | 17500 | 21300 | 1009 | 1009 | 1010
33 | 03/02/2010 | [12 empty] | 977350
40 | 08/02/2010 | 32400 | 31700 | 19400 | 16400 | 19700
41 | 08/02/2010 | [5 empty] | 492
42 | 08/02/2010 | [6 empty] | 508
43 | 08/02/2010 | [7 empty] | 17500 | 21300 | 1012 | 989 | 1018
44 | 08/02/2010 | [12 empty] | 947650
50 | 13/02/2010 | 32100 | 31400 | 19000 | 15900 | 19200
51 | 13/02/2010 | [5 empty] | 480
52 | 13/02/2010 | [6 empty] | 499
53 | 13/02/2010 | [7 empty] | 17200 | 20900 | 990 | 965 | 996
54 | 13/02/2010 | [12 empty] | 922350
59 | 23/02/2010 | 32000 | 31300 | 19000 | 16000 | 19200
60 | 23/02/2010 | [5 empty] | 478
61 | 23/02/2010 | [7 empty] | 16800 | 20400 | 962 | 948 | 965
62 | 23/02/2010 | [12 empty] | 927850
69 | 02/03/2010 | 32200 | 31500 | 19300 | 16300 | 19500
70 | 03/03/2010 | [5 empty] | 480
71 | 02/03/2010 | [6 empty] | 502
72 | 02/03/2010 | [7 empty] | 16400 | 19900 | 937 | 940 | 936
73 | 03/03/2010 | [12 empty] | 942700
75 | 04/03/2010 | 32200 | 31500 | 19300 | 19300 | 19500
86 | 09/03/2010 | 32500 | 31800 | 19600 | 19800 | 19800
87 | 10/03/2010 | [5 empty] | 482
88 | 10/03/2010 | [6 empty] | 506
89 | 09/03/2010 | [7 empty] | 16000 | 19400 | 912 | 942 | 905
96 | 16/03/2010 | 33100 | 32500 | 20100 | 20400 | 20400
97 | 16/03/2010 | [5 empty] | 488
98 | 16/03/2010 | [6 empty] | 512
99 | 16/03/2010 | [7 empty] | 15900 | 19300 | 903 | 954 | 890
105 | 23/03/2010 | 33700 | 33000 | 20300 | 20800 | 20800
106 | 23/03/2010 | [5 empty] | 487
107 | 23/10/2010 | [6 empty] | 515
108 | 23/03/2010 | [7 empty] | 15800 | 19200 | 898 | 959 | 883
111 | 30/03/2010 | 34000 | 33300 | 20500 | 21000 | 21000
112 | 30/03/2010 | [5 empty] | 488
113 | 30/03/2010 | [6 empty] | 519
114 | 30/03/2010 | [7 empty] | 15600 | 18900 | 868 | 945 | 871
117 | 06/04/2010 | 34300 | 33600 | 20700 | 21200 | 21400
118 | 06/04/2010 | [5 empty] | 490
119 | 06/04/2010 | [6 empty] | 524
120 | 06/04/2010 | [7 empty] | 15400 | 18700 | 875 | 932 | 860
131 | 13/04/2010 | 34400 | 33700 | 21100 | 21600 | 21700
132 | 13/04/2010 | [5 empty] | 493
133 | 13/04/2010 | [6 empty] | 531
134 | 14/04/2010 | [7 empty] | 15300 | 18600 | 865 | 914 | 853
138 | 20/04/2010 | 34500 | 33800 | 21500 | 21900 | 22100
139 | 20/04/2010 | [5 empty] | 502
140 | 20/04/2010 | [6 empty] | 540
141 | 20/04/2010 | [7 empty] | 15300 | 18500 | 864 | 903 | 854
145 | 27/04/2010 | 34500 | 33800 | 21800 | 22200 | 22400
146 | 27/04/2010 | [5 empty] | 509
147 | 27/04/2010 | [6 empty] | 546
148 | 27/04/2010 | [7 empty] | 15400 | 18700 | 870 | 908 | 861
149 | 04/05/2010 | 34600 | 33900 | 22100 | 22500 | 22700
150 | 04/05/2010 | [5 empty] | 518
151 | 05/05/2010 | [6 empty] | 551
152 | 04/05/2010 | [7 empty] | 15500 | 18800 | 877 | 912 | 868
160 | 11/05/2010 | 34400 | 33700 | 21900 | 22400 | 22600
161 | 11/05/2010 | [6 empty] | 547
162 | 11/05/2010 | [7 empty] | 1500 | 1800 | 878 | 911 | 870
171 | 18/05/2010 | 34100 | 33400 | 21700 | 22100 | 22400
172 | 18/05/2010 | [5 empty] | 513 | 541
174 | 18/05/2010 | [7 empty] | 15400 | 18700 | 874 | 908 | 865
181 | 24/05/2010 | 33500 | 32800 | 21200 | 21500 | 21800
182 | 24/05/2010 | [5 empty] | 497
183 | 24/05/2010 | [6 empty] | 526
184 | 24/05/2010 | [7 empty] | 15200 | 18400 | 858 | 891 | 850
190 | 01/06/2010 | 32700 | 32000 | 20500 | 20700 | 21000
191 | 01/06/2010 | [5 empty] | 476
192 | 01/06/2010 | [6 empty] | 505
193 | 01/06/2010 | [7 empty] | 14800 | 18000 | 833 | 866 | 825
198 | 08/06/2010 | 32200 | 31500 | 20100 | 20400 | 20600
199 | 08/06/2010 | [5 empty] | 468
200 | 08/06/2010 | [6 empty] | 492
201 | 08/06/2010 | [7 empty] | 14600 | 17700 | 822 | 858 | 813
209 | 15/06/2010 | 31990 | 31200 | 19900 | 20100 | 20300
210 | 15/06/2010 | [5 empty] | 459
211 | 15/06/2010 | [6 empty] | 480
212 | 15/06/2010 | [7 empty] | 14600 | 17600 | 816 | 844 | 809
216 | 22/06/2010 | 32100 | 31400 | 20200 | 20500 | 20600
217 | 22/06/2010 | [5 empty] | 463
218 | 22/06/2010 | [6 empty] | 482
219 | 22/06/2010 | [7 empty] | 14700 | 17800 | 825 | 843 | 821
232 | 29/06/2010 | 32300 | 31600 | 20500 | 20900 | 20900
233 | 29/06/2010 | [5 empty] | 471
234 | 29/06/2010 | [6 empty] | 490
235 | 29/06/2010 | [7 empty] | 14800 | 18000 | 834 | 843 | 832
241 | 05/07/2010 | 32300 | 31600 | 20400 | 20900 | 20900
242 | 05/07/2010 | [5 empty] | 469
243 | 05/07/2010 | [6 empty] | 492
244 | 05/07/2010 | [7 empty] | 14700 | 17800 | 827 | 827 | 827
252 | 13/07/2010 | 32300 | 31600 | 20300 | 20800 | 20700
253 | 13/07/2010 | [5 empty] | 466
254 | 13/07/2010 | [6 empty] | 497
255 | 13/07/2010 | [7 empty] | 14600 | 17700 | 817 | 819 | 817
267 | 20/07/2010 | 32200 | 31500 | 20100 | 20500 | 20400
268 | 20/07/2010 | [5 empty] | 465
269 | 21/07/2010 | [6 empty] | 501
270 | 20/07/2010 | [7 empty] | 14300 | 17400 | 802 | 814 | 799
278 | 27/07/2010 | 32200 | 31500 | 19900 | 20200 | 20200
279 | 27/07/2010 | [6 empty] | 506
280 | 27/07/2010 | [7 empty] | 14300 | 17300 | 796 | 815 | 792
289 | 03/08/2010 | 32300 | 31600 | 20000 | 20300 | 20300
290 | 03/08/2010 | [5 empty] | 471
291 | 04/08/2010 | [6 empty] | 512
292 | 03/08/2010 | [7 empty] | 14300 | 17300 | 800 | 827 | 794
298 | 10/08/2010 | 32500 | 31900 | 20400 | 20700 | 20800
299 | 10/08/2010 | [5 empty] | 485
300 | 10/08/2010 | [6 empty] | 521
301 | 10/08/2010 | [7 empty] | 14500 | 17600 | 812 | 844 | 804
309 | 17/08/2010 | 32600 | 31900 | 20600 | 20900 | 21100
310 | 17/08/2010 | [5 empty] | 492
311 | 17/08/2010 | [6 empty] | 523
312 | 17/08/2010 | [7 empty] | 14600 | 17700 | 822 | 853 | 814
317 | 24/08/2010 | 32300 | 31700 | 20600 | 20900 | 21100
318 | 25/08/2010 | [5 empty] | 493
319 | 24/08/2010 | [6 empty] | 521
320 | 24/08/2010 | [7 empty] | 14800 | 17900 | 830 | 863 | 822
326 | 31/08/2010 | 32100 | 31400 | 20500 | 20800 | 21100
327 | 31/08/2010 | [5 empty] | 491
328 | 31/08/2010 | [6 empty] | 517
329 | 31/08/2010 | [7 empty] | 15100 | 18300 | 853 | 864 | 850
337 | 07/09/2010 | 31900 | 31200 | 20200 | 20500 | 20800
338 | 07/09/2010 | [5 empty] | 481
339 | 07/09/2010 | [6 empty] | 507
340 | 07/09/2010 | [7 empty] | 15500 | 18800 | 877 | 863 | 880
344 | 14/09/2010 | 32000 | 31300 | 20200 | 20500 | 20700
345 | 14/09/2010 | [5 empty] | 475
346 | 14/09/2010 | [6 empty] | 503
347 | 14/09/2010 | [7 empty] | 15800 | 19200 | 899 | 876 | 905
351 | 21/09/2010 | 32300 | 31600 | 20400 | 20800 | 21000
352 | 22/09/2010 | [5 empty] | 474
353 | 21/09/2010 | [6 empty] | 504
354 | 21/09/2010 | [7 empty] | 16200 | 19700 | 928 | 886 | 938
362 | 28/09/2010 | 32500 | 31800 | 20700 | 21100 | 21300
363 | 29/09/2010 | [5 empty] | 475
364 | 28/09/2010 | [6 empty] | 505
365 | 28/09/2010 | [7 empty] | 1600 | 19800 | 931 | 900 | 939
370 | 05/10/2010 | 32600 | 31900 | 20900 | 21500 | 21700
371 | 05/10/2010 | [5 empty] | 478
372 | 05/10/2010 | [6 empty] | 508
373 | 05/10/2010 | [7 empty] | 16200 | 19700 | 925 | 916 | 927
379 | 12/10/2010 | 33000 | 32300 | 21300 | 21900 | 22100
380 | 12/10/2010 | [5 empty] | 489
381 | 12/10/2010 | [6 empty] | 513
382 | 12/10/2010 | [7 empty] | 16300 | 19800 | 933 | 939 | 931
385 | 19/10/2010 | 33500 | 32800 | 21600 | 22300 | 22500
386 | 19/10/2010 | [5 empty] | 499
387 | 19/10/2010 | [6 empty] | 515
388 | 19/10/2010 | [7 empty] | 16500 | 20100 | 947 | 961 | 944
397 | 26/10/2010 | 34000 | 33300 | 21900 | 22500 | 22700
398 | 26/10/2010 | [5 empty] | 505
399 | 26/10/2010 | [6 empty] | 519
400 | 26/10/2010 | [7 empty] | 17000 | 20700 | 977 | 982 | 975
409 | 02/11/2010 | 34300 | 33600 | 22100 | 22600 | 22900
410 | 02/11/2010 | [5 empty] | 509
411 | 02/11/2010 | [6 empty] | 524
412 | 02/11/2010 | [7 empty] | 17600 | 21500 | 1019 | 1000 | 1023
419 | 09/11/2010 | 34300 | 33600 | 22100 | 22600 | 23000
420 | 09/11/2010 | [6 empty] | 529
421 | 09/11/2010 | [7 empty] | 18200 | 22200 | 1057 | 1015 | 1067
425 | 15/11/2010 | 34300 | 33600 | 22300 | 22800 | 23200
426 | 15/11/2010 | [5 empty] | 513
427 | 15/11/2010 | [6 empty] | 536
428 | 15/10/2010 | [7 empty] | 18700 | 22800 | 1091 | 1035 | 1105
431 | 23/11/2010 | 34400 | 33700 | 22400 | 22800 | 23300
432 | 23/11/2010 | [7 empty] | 19300 | 23500 | 1129 | 1063 | 1145
440 | 30/11/2010 | 34500 | 33800 | 22500 | 22900 | 23300
441 | 30/11/2010 | [6 empty] | 534
442 | 30/11/2010 | [7 empty] | 19700 | 24100 | 1159 | 1098 | 1174
446 | 06/12/2010 | 34800 | 34100 | 22700 | 23000 | 23400
447 | 06/12/2010 | [5 empty] | 512
448 | 06/12/2010 | [6 empty] | 532
449 | 06/12/2010 | [7 empty] | 20100 | 24500 | 1182 | 1144 | 1192
457 | 14/12/2010 | 35000 | 34300 | 22900 | 23100 | 23600
458 | 14/12/2010 | [5 empty] | 508
459 | 14/12/2010 | [6 empty] | 529
460 | 14/12/2010 | [7 empty] | 20200 | 24700 | 1192 | 1180 | 1195
465 | 21/12/2010 | 35300 | 34600 | 23300 | 23500 | 24000
466 | 21/12/2010 | [5 empty] | 513
467 | 21/12/2010 | [6 empty] | 535
468 | 21/12/2010 | [7 empty] | 20000 | 24400 | 1176 | 1204 | 1169
473 | 27/12/2010 | 35700 | 35000 | 23700 | 24000 | 24500
474 | 27/12/2010 | [5 empty] | 520
475 | 27/12/2010 | [6 empty] | 543
476 | 27/12/2010 | [7 empty] | 19600 | 23900 | 1149 | 1226 | 1130
Source: Ministry of Energy and Water | [6 empty] | Table made by CAS